  [image: image5.png]


                             2K激光光源成像组件测试记录

 2K激光光源成像组件测试记录
	测试对象：2K激光光源成像组件
	组件型号：GX-04-LSM-02KGM

	测试日期：2018.11.07
	测试人员：王心刚

	测试结果：正常
	检验人员：王心刚

	测试任务：
对2台2K激光光源成像组件进行功能测试。

	测试过程：

1. 搭建测试环境。测试环境由1台信号同步单元、1台分频控制器、1台滚动试验台、1台显示器、1台巡检主机、1台24V电源、2根13芯数据电源信号线及若干其他连接电缆搭建组成。
[image: image1.jpg]



图1 测试环境搭载
2. 确保线缆连接准确无误后，加电开始运行，查看组件指示灯状态，确认相机通讯正常。
[image: image2.jpg]@ 74
O w4




电源：电源状态指示灯（长亮表示工作正常）；
系统：内部控制器指示灯（闪烁表示工作正常）；
采集：采集信号指示灯（长亮或闪烁表示工作正常）。

3. 开启PLC后打开Sapera CamExpert v8.0软件，按照《2K激光光源线阵图像采集软件操作手册》进行组件功能测试，测试图像如下所示：

[image: image3.jpg]& CamExpert - [Untitled] (=3

File View Pre-Processing Tools Help

DEedE|?
Devics Salactor x |[pisplay
Grab S Triggr
veice: [ Lnws ot a3 2150731 | o o | Wi b [ &
[ Frame/ser /A |Resolutior 2048 Pixels x 2048 Lines Monochrome 8-bit
Configur... [Selact & camere file Gptional) E
T e
o |
Detaction [ mr
Facunsters - Visividity: G x -
Category Parameter Value ol "
Camera Information Inter-Packet Timeout 0025 |
= W
R T Maximum Packet Resend (in... 100.0 \ ¥
System TransferStop Detecti... Automatic

Counter And Timer Control S

fdvenced oeig Turbo Transfer Mode False

Cycling Preset Command Timeout 200

Image Format Controls Command Retry Count 3

Acquisition and Transfer Co < Less

Device Event Control
GigE Vision Transport Layer
File Access Control
GigE Vision Host Contrals
e b

Feature Display Hane: Tnsge Tineout <

Dezcription: Specifiss the tinsout velus for o conplate inege tramsfer from the device,

in saconds. The finsout counter starts with the recaption of the First packst for & new Butfer A |

inage: TE A1 inage packets sre not received by the end of the tineout peried, the frame is

considerad Tost. and no mors packet xasend ragusts ars izmusd for that Frane Output Hessages x
Feature Nama: InageTineout

Type: Trlost. (epfesture. TypeDouble) (19:52:26] (Linea H2048-Tun_1) - Height value was changed fron 1024 to 2048 =

[18:52:34] (Lines N2045-Tun_1) —- Inage Tineout value was changed fron 0.700000 to 60
[18:52:36] — Grab button was clicked
[18:53:01] = Freeze button was clicked

< ||119:53:02] - Grab button was elicked Z

SRR : O )




图2 测试图像1
[image: image4.jpg]e el

DEHE ?

evice Selector

ocessingTool

evice: | BB Linea N2045-Tun_t
onfigur. . [Select a canera file

etection:

aneters = Visibility: Guu
atecory

amera Information

ensor Control

O Controls

ounter And Timer Control
dvanced Processing

yeling Preset

nage Format Controls
cquisition and Transfer Co.
I Device Event Control
igE Vision Transport Layer
le Access Control

igE Vision Host Controls

s Help

@ 12150783

(Optional)

Parameter

Acquisition Line Rate
Exposure Mode

re Time (in u:

Exp
Exposure Delay (in us)
Gain Selector
Gain
Black Level Selector
Slack Level

<< Less

Feature Display Hame: Exposure Tine (in us)

Description: Sets the exposure tine (in microseconds) when the Exposure Mods featurs is
st to Tined,

Feature Hame: ExposureTine
Type: TFloat (SapFesture: Typelouble)

Hz)

10000
Timed
120

00
Digital All
10
Digital All
00

x

Display

o

Pixel data not available

<
Bufer mEa |

Output Messages

[17:50:36] (Lines H2045-Tun_1)
[17:51:43] (Lines H2045-Tun_1)
[17:51:55] (Lines H2045-Tun_1)
[17:52:28]
[17:54:27] (Lines H2048-Tun_1)

s | Frovsesn| 9 [i] @

| Frame/se: /A |Resolutior 2048 Pixels x 2048 Lines Monochrome 8-bit

ity ol

- Dutput Line Pulse Duration (in us) value was changed from 1 to 12
- Height value was changed from 1024 to 2048
- Inage Tineout value was changed fron 0.700000 to 60

Grab button was clicked

- Exposure Tine (in us) value was changed fron 50.000000 to 12

Paransters - Visibility: Guru

Output Messages




图3 测试图像2

	测试结果：

组件可正常显示采集数据，画面清晰，亮度均匀，符合正常使用规定。各项测试结果如下表所示：
序号
测试项目
测试结果
1
外观检测
正常
2
电源控制
正常
3
信号处理
正常
4
软件控制
正常
5
图像显示
正常



第 1 页/共 2页

[image: image5.png]