  [image: image5.png]


                       2K激光光源成像组件及线缆测试记录

 2K激光光源成像组件及线缆测试记录
	测试对象：2K激光光源成像组件、线缆
	组件型号：GX3-LSM-02KGM

	测试日期：2019.02.01
	测试人员：王心刚

	测试结果：正常
	检验人员：韩圆圆

	测试任务：
对2台2K激光光源成像组件、2条数据电源线进行功能测试，组件编号为1901280A067、1901280A068。

	测试过程：

1. 搭建测试环境。测试环境由1台信号同步单元、1台滚动试验台、1台显示器、1台巡检主机、1台24V电源、1根13芯数据电源信号线及若干其他连接电缆搭建组成。
[image: image1.jpg]



测试环境搭载
2. 确保线缆连接准确无误后，加电开始运行，查看组件指示灯状态，组件指示灯状态均正常。

[image: image2.jpg]® 8 :GX3-LSM-02KGM
& ¢t W :24VDC S0W ¥




电源：电源状态指示灯（长亮表示工作正常）；
系统：内部控制器指示灯（闪烁表示工作正常）；
采集：采集信号指示灯（长亮或闪烁表示工作正常）。

3. 使用采集卡进行数据采集，打开TMAS V2.0软件进行组件测试，测试图像如下所示：

[image: image3.png]Devica Selector

Devica
Conti gur

Detaction

Paraneters = Visibility: Guru
Category

Camera Information
Sensor Control

1/0 Controls

Counter And Timer Control
Advanced Processing

Cycling Preset

[image Format Controls

Acquisition and Transfer Co.

Device Event Control
GigE Vision Transport Layer
File Access Control

GigE Vision Host Controls

B Linea I2045-Tun | &R 12150789

Select » canars fils Qptionsl)

Parameter

Pixel Format

Horizontal Off.
Width

Multiple ROI
ROI Count Ho
ROI

Binning Ho.
Binning Ve,
Binning Ve,

Horizontal Fiip

Negative Ima.

End-of-Line

End-of-Line
End-of-Lin.

Reset Met

End-o

Test Image P.

<<less

Featore Display Name: Height
Description: Height of the Inage provided by the device (in

Lines)
Featare Name: Height
Type: IInteger SapFesture

Typelntsd)

Value

Monochrome 8-Bit

0

2048
2048
off
tE

1
1
Not

False
False
off

Exposure Time
True
Not

off

Display

Qo = @

marking line 1024

Trigesr

Batter .| | 3

Dutput Messages

111

| Frame/se: N/A

b,

|Resolutior 2048

Is x 2048 Lines

Monochrome 8-bit





组件1901280A067测试图像
[image: image4.png]AT

FileVie
DS ?

Devica Selector

12155002

Device: |H Linea W208-Tun i &
Configur. .. [Select & canera file (ptional)
Detaction

Paraneters = Visibility: Guru
Category

Camera Information
Sensor Control

1/0 Controls

Counter And Timer Control
Advanced Processing

Cycling Preset

[image Format Controls

Acquisition and Transfer Co.

Device Event Control
GigE Vision Transport Layer
File Access Control

GigE Vision Host Controls

Featore Display Hame

Parameter

Pixel Format

Horizontal Off.
Width

Multiple ROI
ROI Count Ho
ROI'S

ROI Offs

Binning Ho.
Binning Ve,
B e

Horizontal Fiip
Negative Ima.
End-of-Line
End-of-Line
End-of-Lin.
Reset
End

Test Image P.

<<less

Height

Value
Monochrome 8-Bit
[

Not
True
False
off

Exposure Time
True
Not

off

Description: Height of the Inage provided by the device (in

Lines)
Featare Name: Height
Type: Ilntezer (SapFeaturs

Typelntsd)

Values:
Win: 2
Max. 53983

x

Display

Qo & -

Bufer

Trigesr

111

| Frame/se: N/A

b,

|Resolutior 2048 Pixels x 2048 Lines Monochrome 8-bit

<[ s

Output Messages

[13:09:53]
[13:09:55]
[13:09:57]
[13:10:13]
113-10:13]

(Linea H2048-Tun_1)
- Grab button was clicked

- Freaze button was clicked
(Linea H2048-Tun_1)
— Grab button was clicked

- Canera files Library loadsd

- Height value was changed fron 1024 to 2048




组件1901280A068测试图像

4. 更换线缆，分别对2条线缆进行测试。

	测试结果：

2个组件均可正常显示采集数据，画面清晰，亮度均匀，符合正常使用规定。各项测试结果如下表所示：
序号
测试项目
测试结果
1
外观检测
正常
2
电源控制
正常
3
信号处理
正常
4
软件控制
正常
5
图像显示
正常
2条数据电源线皆满足组件供电、信号通讯、和数据传输使用需求。


第 2 页/共 4页

[image: image5.png]